机构名称：上海舒美计量检测有限公司

注册号：L5631

地  址：

A：上海市金山区众益街894号

获准认可能力索引

| 序号 | 地址 | 能力范围 | 评审类型 | 更新时间 |
| --- | --- | --- | --- | --- |
| 1 | A | 授权签字人(中文) | 复评+扩项 | 2015年4月23日 |
| 2 |  | 授权签字人(英文) | 复评+扩项 | 2015年4月23日 |
| 3 | A | 校准能力(中文) | 复评+扩项 | 2015年4月23日 |
| 4 |  | 校准能力(英文) | 复评+扩项 | 2015年4月23日 |

# Name：Shanghai Shumei Measuring and Testing Co., Ltd.

# Registration No.：L5631

ADDRESS：

# A: No.894, Zhongyi Street, Jinshan District, Shanghai, China

# INDEX OF ACCREDITED SIGNATORIES

| No. | Address | Range | Type | Update date |
| --- | --- | --- | --- | --- |
| 1 | A | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-4-23 |
| 2 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-4-23 |
| 3 | A | Calibration ability(Chinese) | Reassessment+Extending assessment | 2015-4-23 |
| 4 |  | Calibration ability(English) | Reassessment+Extending assessment | 2015-4-23 |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5631）

名称: 上海舒美计量检测有限公司

地址：上海市金山区众益街894号

签发日期：2015年04月23日        有效期至：2018年04月27日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 沈向阳 | 全部校准项目 |  |
| 2 | 殷德华 | 几何量校准项目 |  |
| 3 | 李怀洲 | 力学校准项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5631)

NAME:Shanghai Shumei Measuring and Testing Co., Ltd.

ADDRESS:No.894, Zhongyi Street, Jinshan District, Shanghai, China

Date of Issue:2015-04-23                      Date of Expiry:2018-04-27

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Xiangyang Shen | Apply for items of all areas |  |
| 2 | Dehua Yin | Apply for items of geometric area |  |
| 3 | Huaizhou Li | Apply for items of mechanical area |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L5631）

名称: 上海舒美计量检测有限公司

地址：上海市金山区众益街894号

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年04月23日         有效期至：2018年04月27日

附件3 认可的校准能力范围

| 序号 | 测量仪器名称 | 校准参量 | 规范代号（含年号）名称 | 测量范围 | 扩展不确定度（k=2） | 限制说明 | 备注 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 通用卡尺 | 长度 | 《通用卡尺》 JJG 30-2002 | (0~1500)mm | U=9μm+5×10-6L |  |  |
| 2 | 高度卡尺 | 长度 | 《高度卡尺》 JJG 31-2011 | (0~1000)mm | U=7μm+7×10-6L |  |  |
| 3 | 公法线千分尺 | 长度 | 《公法线类千分尺》 JJG 82-2010 | ≤50mm | U=1.8μm |  |  |
|  |  |  |  | (50~100)mm | U=2.2μm |  |  |
| 4 | 千分尺 | 长度 | 《千分尺》 JJG 21-2008 | ≤50mm | U=1.8μm |  |  |
|  |  |  |  | (50~100)mm | U=2.2μm |  |  |
| 5 | 内测千分尺 | 长度 | 《测量内尺寸千分尺校准规范》 JJF 1091-2002 | (5~50)mm | U=1.8μm |  |  |
|  |  |  |  | (50~100)mm | U=2.2μm |  |  |
| 6 | 杠杆千分尺 | 长度 | 《杠杆千分尺、杠杆卡规检定规程》 JJG 26-2001 | (0~25)mm | U=1.8μm |  |  |
| 7 | 指示表 | 长度 | 《指示表（数显式、指示式）》 JJG 34-2008 | 百分表： (0～5)mm | U=4.2μm |  |  |
|  |  |  |  | 百分表： (0～10)mm | U=4.3μm |  |  |
|  |  |  |  | 千分表： (0～1)mm | U=1.6μm |  |  |
| 8 | 内径表 | 长度 | 《内径表校准规范》 JJF 1102-2003 | (6～250)mm | U=3μm |  |  |
| 9 | 杠杆百分表 | 长度 | 《杠杆表》 JJG 35-2006 | (0～0.8)mm | U=5μm |  |  |
| 10 | 厚度表 | 长度 | 《厚度表校准规范》 JJF 1255-2010 | (0~30)mm | 分度值为0.01mm: U=4μm |  |  |
|  |  |  |  |  | 分度值为0.001mm: U=0.9μm |  |  |
| 11 | 机械式比较仪 | 长度 | 《机械式比较仪》 JJG 39-2004 | （-0.5~+0.5） mm | 分度值1μm: U=0.2μm |  |  |
|  |  |  |  |  | 分度值2μm: U=0.3μm |  |  |
|  |  |  |  |  | 分度值5μm: U=0.6μm |  |  |
|  |  |  |  |  | 分度值10μm: U=1.2μm |  |  |
| 12 | 测长仪 | 长度 | 《测长仪校准规范》 JJF 1189-2008 | ( 0～100)mm | U=0.5µm |  |  |
|  |  |  |  | （＞100～500）mm | U=1.0µm |  |  |
| 13 | 工具显微镜 | 长度 | 《工具显微镜》 JJG 56-2000 | X:(0~200)mm Y:(0~100)mm | U=0.8μm+3×10-7L |  |  |
| 14 | 投影仪 | 长度 | 《投影仪校准规范》 JJF 1093-2002 | X:(0~200)mm Y:(0~100)mm | U=0.8μm+4.8×10-6L |  |  |
| 15 | 影像测量仪 | 长度 | 《影像测量仪校准规范》 JJF 1318-2011 | X:(0~200)mm Y:(0~100)mm | U=0.9μm+5×10-7L |  |  |
| 16 | 坐标测量机 | 长度 | 《坐标测量机校准规范》 JJF 1064-2010 | X:(0~2000)mm Y:(0~1500)mm Z:(0~1000)mm | U=0.2μm+7×10-7L |  |  |
| 17 | 万能角度尺 | 角度 | 《万能角度尺》 JJG 33-2002 | 0°～360° | 分度值2′:U=1′ |  |  |
| 17 | 万能角度尺 | 角度 | 《万能角度尺》 JJG 33-2002 |  | 分度值5′:U=3′ |  |  |
| 18 | 数字指示秤 | 质量 | JJG 539-1997 《数字指示秤检定规程》 | 最大称量：3kg | U=0.4g |  |  |
|  |  |  |  | 最大称量：10kg | U=0.8g |  |  |
|  |  |  |  | 最大称量：30kg | U=4.0g |  |  |
|  |  |  |  | 最大称量：150kg | U=10g |  |  |
|  |  |  |  | 最大称量：300kg | U=34g |  |  |
|  |  |  |  | 最大称量：500kg | U=40g |  |  |
|  |  |  |  | 最大称量：1t | U=0.13kg |  |  |
| 19 | 电子天平 | 质量 | JJG 1036-2008 《电子天平检定规程》 | （1～100）g | U=0.3mg |  |  |
|  |  |  |  | （100～200）g | U=2mg |  |  |
|  |  |  |  | （200～500）g | U=2mg |  |  |
|  |  |  |  | 500g～1kg | U=5mg |  |  |
|  |  |  |  | （2～5）kg | U=23mg |  |  |
|  |  |  |  | （10～15）kg | U=0.35g |  |  |
| 20 | 压力表 | 压力 | JJG52-2013 《弹性元件式一般压力表、压力真空表和真空表检定规程》 | （-0.1～60）MPa | U=0.58%FS |  |  |
| 21 | 工作测力仪 | 力值 | JJG455-2000 《工作测力仪检定规程》 | 0.1N～200N | Urel=0.36% |  |  |
| 22 | 电子式万能试验机 | 力值 | JJG 475-2008 《 电子式万能试验机检定规程》 | 0～1kN | Urel=0.14% |  |  |
|  |  |  |  | (＞1～5)kN | Urel=0.14% |  |  |
| 23 | 直流数字电流表 | 直流电流 | JJG 598-1989 《直流数字电流表试行检定规程》 | 100µA～10A | Urel=0.1％ |  |  |
| 24 | 直流数字电压表 | 直流电压 | JJG 315-1983 《直流数字电压表检定规程》 | 100mV～1000V | Urel=0.1％ |  |  |
| 25 | 交流数字电流表 | 交流电流 | JJG(航天)35-1999 《交流数字电流表检定规程》 | 1mA～10A（50Hz/60Hz） | Urel=0.2％ |  |  |
| 26 | 交流数字电压表 | 交流电压 | JJG(航天)34-1999 《交流数字电压表检定规程》 | 100mV～1000V（50Hz/60Hz） | Urel=0.2％ |  |  |
| 27 | 直流数字式欧姆表 | 直流电阻 | JJG 724-1991 《直流数字式欧姆表检定规程》 | 10Ω～100MΩ | Urel=0.1％ |  |  |
| 28 | 耐电压测试仪 | 直流电压 | JJG 795-2004 《耐电压测试仪检定规程》 | (0.5～200)kV | Urel=1.2% |  |  |
|  |  | 交流电压 |  | (0.5～200)kV（50Hz/60Hz） | Urel=1.2% |  |  |
| 28 | 耐电压测试仪 | 直流电流 | JJG 795-2004 《耐电压测试仪检定规程》 | (0.5～100)mA | Urel=0.6％ |  |  |
|  |  | 交流电流 |  | (0.5～100)mA（50Hz/60Hz） | Urel=0.7％ |  |  |
|  |  | 时间 |  | (0～999)s | Urel=0.6％ |  |  |
| 29 | 钳形电流表 | 直流电流 | JJF 1075-2001 《钳形电流表校准规范》 | （10～1000）A | Urel=0.8％ |  |  |
|  |  | 交流电流 |  | （10～1000）A | Urel=0.8％ |  |  |
| 30 | 交/直流电压表 | 直流电压 | JJG 124-2005 《电流表、电压表、功率表和电阻表检定规程》 | 1mV～600V | Urel=0.05％ |  |  |
|  |  | 交流电压 |  | 1mV～600V | Urel=0.1％ |  |  |
| 31 | 交/直流电流表 | 直流电流 | JJG 124-2005 《电流表、电压表、功率表和电阻表检定规程》 | 100μA～50A | Urel=0.07％ |  |  |
|  |  | 交流电流 |  | 1mA～50A | Urel=0.13％ |  |  |
| 32 | 电子式绝缘电阻表 | 电阻 | JJG 1005-2005 《电子式绝缘电阻表检定规程》 | (0.01~10)MΩ | Urel=0.3％ |  |  |
|  |  |  |  | (10~100)MΩ | Urel=0.6％ |  |  |
| 32 | 电子式绝缘电阻表 | 电阻 | JJG 1005-2005 《电子式绝缘电阻表检定规程》 | (100~1000)MΩ | Urel=1.5％ |  |  |
|  |  |  |  | (1~10)GΩ | Urel=2.3％ |  |  |
| 32 | 电子式绝缘电阻表 | 电阻 | JJG 1005-2005 《电子式绝缘电阻表检定规程》 | (10~100)GΩ | Urel=5.8％ |  |  |
|  |  | 直流电压 |  | (50～1000)V | Urel=0.3％ |  |  |
| 33 | 泄漏电流测量仪 | 交流电流 | JJG 843-2007 《泄漏电流测量仪检定规程》 | （0.1～20）mA（50Hz/60Hz） | Urel=0.8％ |  |  |
|  |  | 交流电压 |  | （0～300）V（50Hz/60Hz） | Urel=0.1％ |  |  |
| 34 | 直流稳压电源 | 直流电压 | JJG(航天)6-1999 《直流稳压电源检定规程》 | （1~100）V | Urel=0.1% |  |  |
|  |  | 直流电流 |  | （0mA~10）A | Urel=0.15% |  |  |
|  |  | 交流纹波电压 |  | （1~100）mV/（50~60）Hz | Urel=0.3% |  |  |
| 35 | 交流功率表 | 交流电压 | JJG 780-1992 《 交流数字功率表检定规程》 | （1~3.29999）V/（50~60）Hz | Urel=0.04% |  |  |
|  |  |  |  | （33~329.999）V/（50~60）Hz | Urel=0.05% |  |  |
|  |  | 交流电流 |  | (0.1~0.32999)A/（50~60）Hz | Urel=0.08% |  |  |
|  |  |  |  | (0.33~1.09999)A/（50~60）Hz | Urel=0.10% |  |  |
| 35 | 交流功率表 | 交流电流 | JJG 780-1992 《 交流数字功率表检定规程》 | (1.1~2.99999)A/（50~60）Hz | Urel=0.09% |  |  |
|  |  |  |  | (3~10.9999)A/（50~60）Hz | Urel=0.17% |  |  |
|  |  |  |  | (11~20)A/（50~60）Hz | Urel=0.22% |  |  |
|  |  | 交流功率 |  | 电压(1~300)V电流（0.1~0.32999）A/（50~60）Hz cosφ=1 | Urel=0.10% |  |  |
|  |  |  |  | 电压(1~300)V电流（0.33~0.8999）A/（50~60）Hz cosφ=1 | Urel=0.15% |  |  |
|  |  |  |  | 电压(1~300)V电流（0.9~2.9999）A/（50~60）Hz cosφ=1 | Urel=0.13% |  |  |
| 35 | 交流功率表 | 交流功率 | JJG 780-1992 《 交流数字功率表检定规程》 | 电压(1~300)V电流（3~10.9999）A/（50~60）Hz cosφ=1 | Urel=0.15% |  |  |
|  |  |  |  | 电压(1~300)V电流（11~20）A/（50~60）Hz cosφ=1 | Urel=0.20% |  |  |
| 36 | 直流标准电压源 | 直流电压 | JJG 445-1986 《直流标准电压源检定规程》 | （0.01~1000）V | Urel=0.01% |  |  |
| 37 | 交流标准电压源 | 交流电压 | JJG 410-1994 《 精密交流电压校准源检定规程》 | （1~100）mV/（10Hz~20kHz） | Urel=0.12% |  |  |
|  |  |  |  | （1~100）mV/（20~50）kHz | Urel=0.20% |  |  |
|  |  |  |  | （0.1~1）V/（10Hz~20kHz） | Urel=0.10% |  |  |
|  |  |  |  | （0.1~1）V/（20~50）kHz | Urel=0.18% |  |  |
|  |  |  |  | （1~10）V/（10Hz~20kHz） | Urel=0.10% |  |  |
| 37 | 交流标准电压源 | 交流电压 | JJG 410-1994 《 精密交流电压校准源检定规程》 | （1~10）V/（20~50）kHz | Urel=0.18% |  |  |
|  |  |  |  | （10~100）V/（10Hz~20kHz） | Urel=0.10% |  |  |
|  |  |  |  | （10~100）V/（20~50）kHz | Urel=0.18% |  |  |
|  |  |  |  | （100~1000)V/（10Hz~20kHz） | Urel=0.10% |  |  |
|  |  |  |  | （100~1000）V/（20~50）kHz | Urel=0.20% |  |  |
| 38 | 直流标准电流源 | 直流电流 | JJG (航天) 38-1987 《直流标准电流源检定规程》 | 10μA~100mA | Urel=0.10% |  |  |
|  |  |  |  | （0.1~1）A | Urel=0.15% |  |  |
|  |  |  |  | （1~10）A | Urel=0.25% |  |  |
| 39 | 交流标准电流源 | 交流电流 | JJG (航天) 51-1999 《交流标准电流源检定规程》 | (0.1~1)mA/（10Hz~1kHz） | Urel=0.15% |  |  |
|  |  |  |  | (1~10)mA/（10Hz~1kHz） | Urel=0.20% |  |  |
|  |  |  |  | (10~100)mA/（10Hz~1kHz） | Urel=0.15% |  |  |
| 39 | 交流标准电流源 | 交流电流 | JJG (航天) 51-1999 《交流标准电流源检定规程》 | (100~400)mA/（10Hz~1kHz） | Urel=0.20% |  |  |
|  |  |  |  | (0.4~1)A/（10Hz~1kHz） | Urel=0.15% |  |  |
|  |  |  |  | (1~3)A/（10Hz~1kHz） | Urel=0.25% |  |  |
|  |  |  |  | (3~10)A/（10Hz~1kHz） | Urel=0.36% |  |  |
| 40 | 直流电阻箱 | 直流电阻 | JJG 982-2003 《直流电阻箱检定规程》 | （0.1~10）Ω | Urel=0.05% |  |  |
|  |  |  |  | （10~100）Ω | Urel=0.02% |  |  |
|  |  |  |  | （100~1000）Ω | Urel=0.01% |  |  |
|  |  |  |  | （1~10）kΩ | Urel=0.01% |  |  |
|  |  |  |  | （10~100）kΩ | Urel=0.01% |  |  |
|  |  |  |  | （0.1~10）MΩ | Urel=0.05% |  |  |
|  |  |  |  | （10~100）MΩ | Urel=0.10% |  |  |
|  |  |  |  | （0.1~1）GΩ | Urel=2.4% |  |  |
| 41 | 接地电阻表 | 电阻 | JJG 366-2004 《接地电阻表检定规程》 | （0.1~1）Ω | Urel=0.50% |  |  |
|  |  |  |  | （1~1000）Ω | Urel=0.30% |  |  |
| 42 | 直流低电阻测试仪 | 直流电阻 | JJG 837-2003 《直流低电阻表检定规程》 | 10mΩ~1Ω | Urel=1.0% |  |  |
|  |  |  |  | （1~10）Ω | Urel=0.5% |  |  |
|  |  |  |  | （10~100）Ω | Urel=0.1% |  |  |
|  |  |  |  | （100~1000）Ω | Urel=0.1% |  |  |
|  |  |  |  | （1~10）kΩ | Urel=0.1% |  |  |
| 43 | 防静电手腕测试仪 | 阀值电阻 | JJF(电子)31502-2010 《静电腕带、脚盘测试仪校准规范》 | 500kΩ~10MΩ | Urel=0.3% |  |  |
|  |  |  |  | （10 ~100 ）MΩ | Urel=0.6% |  |  |
| 44 | 低频电子电压表 | 电压 | JJG 782-1992 《低频电子电压表检定规程》 | 1mV~300V/（55Hz、400Hz、1000Hz） | Urel=0.5% |  |  |
|  |  | 电压频响 |  | 5Hz~20Hz/1V | Urel=1.0% |  |  |
|  |  |  |  | 50Hz~10k/1V | Urel=0.5% |  |  |
|  |  |  |  | 20k Hz~100k Hz/1V | Urel=1.0% |  |  |
| 45 | 接地导通电阻测试仪 | 电阻 | JJG 984-2004 《接地导通电阻测试仪检定规程》 | （20~600）mΩ | Urel=0.6% |  |  |
|  |  | 交流电流 |  | (0~40)A/（50~60）Hz | Urel=1.1% |  |  |
| 46 | 剩余电流动作保护器测试仪 | 交流电压 | JJG(机械)76-1992 《IDB型漏电保护器测试仪检定规程》 | （10~1000）V/50/60Hz | Urel=0.2% |  |  |
|  |  | 交流电流 |  | (0.1~1)mA | Urel=0.12% |  |  |
|  |  |  |  | (1~10)mA | Urel=0.15% |  |  |
|  |  |  |  | (10~100)mA | Urel=0.12% |  |  |
|  |  |  |  | (0.1~1)A | Urel=0.15% |  |  |
|  |  |  |  | (1~10)A | Urel=0.2% |  |  |
|  |  | 动作时间 |  | （0~40）ms | Urel=0.2% |  |  |
|  |  |  |  | ＞40ms |  |  |  |
| 47 | 数字多用表 | 直流电压 | JJG 315-1983 《直流数字电压表检定规程》 | （1~329.999）mV | Urel=0.005% |  |  |
|  |  |  |  | 330mV~3.29999V | Urel=0.004% |  |  |
|  |  |  |  | （3.3~32.9999）V | Urel=0.004% |  |  |
|  |  |  |  | （33~329.999）V | Urel=0.004% |  |  |
|  |  |  |  | （330~1020）V | Urel=0.005% |  |  |
|  |  | 交流电压 | JJG (航天)34-1999 《交流数字电压表检定规程》 | （1~32.999）mV/(10~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （1~32.999）mV/45Hz~10kHz | Urel=0.03% |  |  |
|  |  |  |  | （1~32.999）mV/(10~20)kHz | Urel=0.05% |  |  |
| 47 | 数字多用表 | 交流电压 | JJG (航天)34-1999 《交流数字电压表检定规程》 | （1~32.999）mV/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （1~32.999）mV/(50~100)kHz | Urel=0.30% |  |  |
|  |  |  |  | （33~329.999）mV/(10~45)Hz | Urel=0.06% |  |  |
|  |  |  |  | （33~329.999）mV/45Hz~10kHz | Urel=0.02% |  |  |
|  |  |  |  | （33~329.999）mV/(10~20)kHz | Urel=0.02% |  |  |
|  |  |  |  | （33~329.999）mV/(20~50)kHz | Urel=0.40% |  |  |
|  |  |  |  | （33~329.999）mV/(50~100)kHz | Urel=1.0% |  |  |
|  |  |  |  | （0.33~3.29999）V/(10~45)Hz | Urel=0.40% |  |  |
|  |  |  | JJG (航天)34-1999 《交流数字电压表检定规程》 | （0.33~3.29999）V/45Hz~10kHz | Urel=0.03% |  |  |
|  |  |  |  | （0.33~3.29999）V/(10~20)kHz | Urel=0.05% |  |  |
| 47 | 数字多用表 | 交流电压 | JJG (航天)34-1999 《交流数字电压表检定规程》 | （0.33~3.29999）V/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （0.33~3.29999）V/(50~100)kHz | Urel=0.80% |  |  |
|  |  |  |  | （3.3~32.9999）V/(10~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.9999）V/45Hz~10kHz | Urel=0.04% |  |  |
|  |  |  |  | （3.3~32.9999）V/(10~20)kHz | Urel=0.08% |  |  |
| 47 | 数字多用表 | 交流电压 | JJG (航天)34-1999 《交流数字电压表检定规程》 | （3.3~32.9999）V/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.9999）V/(50~100)kHz | Urel=0.15% |  |  |
|  |  |  |  | （33~329.999）V/(10~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/45Hz~10kHz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/(10~20)kHz | Urel=0.10% |  |  |
| 47 | 数字多用表 | 交流电压 | JJG (航天)34-1999 《交流数字电压表检定规程》 | （33~329.999）V/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/(50~100)kHz | Urel=0.20% |  |  |
|  |  |  |  | （330~1000）V/45Hz~1kHz | Urel=0.30% |  |  |
|  |  | 直流电流 | JJG 598-1989 《直流数字电流表检定规程》 | （100~329.999）μA | Urel=0.02% |  |  |
|  |  |  |  | 330μA~3.29999mA | Urel=0.01% |  |  |
|  |  |  |  | （3.3~32.9999）mA | Urel=0.01% |  |  |
|  |  |  |  | （33~329.999）mA | Urel=0.01% |  |  |
|  |  |  |  | 330mA~1.09999A | Urel=0.01% |  |  |
|  |  |  |  | （1.1~2.99999）A | Urel=0.03% |  |  |
|  |  |  |  | （3~10.99999）A | Urel=0.08% |  |  |
|  |  |  |  | （11~20）A | Urel=0.10% |  |  |
|  |  | 交流电流 | JJG(航天)35-1999 《交流数字电流表检定规程》 | （29~329.99） μA/(20~45)Hz | Urel=0.20% |  |  |
|  |  |  |  | （29~329.99） μA/45Hz~1kHz | Urel=0.13% |  |  |
|  |  |  |  | （0.33~3.2999）mA/(20~45)Hz | Urel=0.13% |  |  |
| 47 | 数字多用表 | 交流电流 | JJG(航天)35-1999 《交流数字电流表检定规程》 | （0.33~3.2999）mA/45Hz~1kHz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.999）mA/(20~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.999）mA/45Hz~1kHz | Urel=0.05% |  |  |
|  |  |  |  | （33~329.99）mA/(20~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.99）mA/45Hz~1kHz | Urel=0.05% |  |  |
| 47 | 数字多用表 | 交流电流 | JJG(航天)35-1999 《交流数字电流表检定规程》 | （0.33~2.99999）A/(10~45)Hz | Urel=0.20% |  |  |
|  |  |  |  | （0.33~2.99999）A/45Hz~1kHz | Urel=0.08% |  |  |
|  |  |  |  | （3~10.9999）A/(45~100)Hz | Urel=0.06% |  |  |
|  |  |  |  | （3~10.9999）A/100Hz~1kHz | Urel=0.10% |  |  |
|  |  |  |  | （11~20）A/(45~100)Hz | Urel=0.15% |  |  |
| 47 | 数字多用表 | 交流电流 | JJG(航天)35-1999 《交流数字电流表检定规程》 | （11~20）A/100Hz~1kHz | Urel=0.18% |  |  |
|  |  | 电阻 | JJG 724-1991 《直流数字式欧姆表检定规程》 | （0~3.299999）MΩ | Urel=0.01% |  |  |
|  |  |  |  | （3.3~10.99999）MΩ | Urel=0.02% |  |  |
|  |  |  |  | （11~32.99999）MΩ | Urel=0.03% |  |  |
|  |  |  |  | （33~109.9999）MΩ | Urel=0.05% |  |  |
|  |  |  |  | （110~329.9999）MΩ | Urel=0.30% |  |  |
|  |  |  |  | （330~1100）MΩ | Urel=1.5 % |  |  |
| 48 | 环境试验设备 | 温度 | JJF1101—2003 《环境试验设备温度、湿度校准规范》 | （-40～250）℃ | U=0.5℃ |  |  |
| 49 | 变压比电桥 | 变比值 | JJG 970-2002 《变压比电桥检定规程》 | 1～100000 | Urel =0.01% |  |  |
| 50 | LCR数字电桥(LCR测量仪） | 电容 | GJB/J5412-2005 《宽量程数字RLC测量仪检定规程(军用）》 | 40PF~1mF | Urel=0.16%～0.34% |  |  |
|  |  | 电感 |  | 100μH~1H | Urel=0.05% |  |  |
|  |  | 电阻 |  | 0.1Ω~100kΩ | Urel=2.4%～0.12% |  |  |
| 51 | 交直流高压分压器 | 电压 | JJG 1007-2005 《直流高压分压器检定规程》 | (0.5～200)kV | Urel =0.6% |  |  |
|  |  | 电压 | JJG 496-1996 《工频高压分压器检定规程 》 | (0.5～200)kV | Urel =1.2% |  |  |
| 52 | 电流互感器 | 电流比值差 | JJG 313-2010 《测量用电流互感器检定规程》 | (0.1～10000)A/5A 0.0001％-20％ | U=0.012% |  |  |
|  |  | 电流相位差 |  | 0.001′-600′ | U=0.35′ |  |  |
| 53 | 电压互感器 | 电压比值差 | JJG 314-2010 《 测量用电压互感器检定规程》 | (57.7～10000)V/100V 0.0001％-20％ | U=0.012% |  |  |
|  |  | 电压相位差 |  | 0.001′-600′ | U=0.35′ |  |  |
| 54 | 直流电阻电桥 | 电阻 | JJG 125-2004 《直流电桥试行检定规程》 | 单臂：10mΩ～10MΩ 双臂：0.01mΩ～11Ω | 单臂: Urel=5.8％～0.06％ 双臂: Urel=1.2%～0.02% |  |  |
| 55 | 线圈圈数测量仪 | 线圈圈数 | SJ20241-93 《 YG系列匝数仪(电子行业军用）检定规程》 | （0~20000）圈 | （1.2~12）圈 |  |  |
| 56 | 超声探伤仪 | 水平线性误差 | JJG 746-2004 《超声探伤仪检定规程》 | 0~10% | U=0.5% |  |  |
|  |  | 垂直线性误差 |  | 0~10% | U=1.7% |  |  |
|  |  | 衰减量误差 |  | (0.1~101)dB | U=0.2dB/12dB |  |  |
| 57 | 涡流探伤机 | 频率 | JJG(民航) 0061-2001 《涡流探伤机检定规程》 | (1×10～1×106)Hz | U=0.12kHz |  |  |
| 58 | 磁粉探伤机 | 电流 | JJF 1273-2011 《无损检测仪器 磁粉探伤机校准规范》 | (0.1～2)kA | U=5.2A |  |  |
|  |  |  |  | (>2～10)kA | U=26A |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L5631)

NAME:Shanghai Shumei Measuring and Testing Co., Ltd.

ADDRESS:No.894, Zhongyi Street, Jinshan District, Shanghai, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-04-23                      Date of Expiry:2018-04-27

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Title, Code of Calibration Method | Range | Uncertainty (k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Current Calipers | Length | JJG 30-2012 V.R.of Current Calipers | (0~1500)mm | U=9μm +5×10-6L |  | Enlarge the range On-site service |
| 2 | Height Gauge | Length | JJG 31-2011 V.R.of Height Gauge | (0~1000)mm | U=7μm +7×10-6L |  | Enlarge the range On-site service |
| 3 | Common Normal Micrometer | Length | JJG 82-2010 V.R.of Common Normal Micrometer | ≤50mm | U=1.8μm |  | On-site service |
|  |  |  |  | (50~100)mm | U=2.2μm |  |  |
| 4 | Micrometer | Length | JJG 21-2008 V.R.of Micrometer | ≤50mm | U=1.8μm |  | On-site service |
|  |  |  |  | (50~100)mm | U=2.2μm |  |  |
| 5 | Micrometer for Measuring Inside Dimension | Length | JJF1091-2002 C.S. for Micrometer for Measuring Inside Dimension | (5~50)mm | U=1.8μm |  | On-site service |
|  |  |  |  | (50~100)mm | U=2.2μm |  |  |
| 6 | Micrometers with Dial Comparator | Length | JJG 26-2011 V.R.of Micrometers with Dial Comparator and Indication Snap Gauge | (0~25)mm | U=1.8μm |  | On-site service |
| 7 | Dial Gauges | Length | JJG 34-2008 V.R.of Dial Gauges（dial and digital） | Dial Gauge Reading in 0.01mm： (0～5)mm | U=4.2μm |  | On-site service |
|  |  |  |  | Dial Gauge Reading in 0.01mm： (0～10)mm | U=4.3μm |  |  |
|  |  |  |  | Dial Gauge Reading in 0.001mm： (0～1)mm | U=4.3μm |  |  |
| 8 | Bore Dial Indicated | Length | JJF 1102-2003 C.S.for Bore Dial Indicated | (6～250)mm | U=3μm |  | On-site service |
| 9 | Dial Test Indicated | Length | JJG 35-2006 V.R.of Dial Test Indicate | (0～0.8)mm | U=5μm |  | On-site service |
| 10 | Thickness Gauges | Length | JJF 1255-2010 C. S.for Thickness Gauges | (0~30)mm | Graduation 0.01mm: U=4μm |  | Expension On-site service |
|  |  |  |  |  | Graduation 0.001mm: U=0.9μm |  |  |
| 11 | Comparators of Machine Type | Length | JJG 39-2004 V.R.of Comparators of Machine Type | (-0.5~+0.5) mm | Graduation 1μm: U=0.2μm |  | Expension On-site service |
|  |  |  |  |  | Graduation 2μm: U=0.3μm |  |  |
|  |  |  |  |  | Graduation 5μm: U=0.6μm |  |  |
|  |  |  |  |  | Graduation 10μm: U=1.2μm |  |  |
| 12 | Length measuring instrument | Length | JJF 1189-2008 C. S.for length measuring instrument | ( 0～100)mm | U=0.5µm |  | Expension On-site service |
| 12 | Length measuring instrument | Length | JJF 1189-2008 C. S.for length measuring instrument | （＞100～500）mm | U=1.0µm |  | Expension On-site service |
| 13 | Toolmaker's Microscope | Length | JJG 56-2000 V.R.of Toolmaker's Microscope | X:(0~200)mm Y:(0~100)mm | U=0.8μm +3×10-7L |  | Expension On-site service |
| 14 | Projector | Length | JJF 1093-2002 C. S.for Projector | X:(0~200)mm Y:(0~100)mm | U=0.8μm +4.8×10-6L |  | Expension On-site service |
| 15 | Imaging Probe Measuring Machines | Length | JJF 1318-2011 C.S.for Imaging Probe Measuring Machines | X:(0~200)mm Y:(0~100)mm | U=0.9μm +5×10-7L |  | Expension On-site service |
| 16 | Coordinate Measuring Machine | Length | JJF 1064-2010 C.S.for Coordinate Measuring Machine | X:(0~2000)mm Y:(0~1500)mm Z:(0~1000)mm | U=0.2μm +7×10-7L |  | Expension On-site service |
| 17 | Universal Bevel Protractors | Angle | JJG 33-2002 V.R.of Universal Bevel Protractors | 0º~360º | Graduation 2′: U=1′ |  | Expension On-site service |
|  |  |  |  |  | Graduation 5′: U=3′ |  |  |
| 18 | Digitalin dication Weights instrument | Mass | JJG 539-1997 V.R.of Digital indication Weights instrument | The largest weighing：3kg | U=0.4g |  | on-site service |
|  |  |  |  | The largest weighing：10kg | U=0.8g |  |  |
|  |  |  |  | The largest weighing：30kg | U=4.0g |  |  |
|  |  |  |  | The largest weighing：150kg | U=10g |  |  |
|  |  |  |  | The largest weighing：300kg | U=34g |  |  |
|  |  |  |  | The largest weighing：500kg | U=40g |  |  |
| 18 | Digitalin dication Weights instrument | Mass | JJG 539-1997 V.R.of Digital indication Weights instrument | The largest weighing：1t | U=0.13kg |  | on-site service |
| 19 | Balance | Mass | JJG 1036-2008 V.R.of Electronic Balance | （1~100）g | U=0.3mg |  | on-site service |
|  |  |  |  | （100~200）g | U=2mg |  |  |
|  |  |  |  | （200~500）g | U=2mg |  |  |
|  |  |  |  | 500g~1kg | U=5mg |  |  |
|  |  |  |  | （2~5）kg | U=23mg |  |  |
|  |  |  |  | （10~15）kg | U=0.35g |  |  |
| 20 | Piezometer | pressure | JJG52-2013 V.R of Elastic element type general pressure gauge, pressure vacuum gauge and vacuum gauge | （-0.1～60）MPa | U=0.58%FS |  | Expended on-site service |
| 21 | Working Dynamometers | Force | JJG455-2000 V.R.of Working Dynamomters | 0.1N～200N | Urel=0.36% |  | Expended on-site service |
| 22 | Spring Tension and Compression Testing Machine | Force | JJF1134-2005 C.S.for Working Force Measuring Machine for Special Purposes | 0～1kN | Urel=0.14% |  | Expended on-site service |
|  |  |  |  | (＞1～5)kN | Urel=0.14% |  |  |
| 23 | DC Digital Amperemeter | DC Current | JJG 589-1998 V.R of DC Digital Amperemeter | 100µA～10A | Urel=0.1％ |  | on side service |
| 24 | DC Digital Voltmrter | DC Voltge | JJG 315-1983 V.R of DC Digital Voltmrter | 100mV～1000V | Urel=0.1％ |  | on side service |
| 25 | AC digital current meter | AC Current | JJG(Aerospace)35-1999 V.R. of AC digital current meter | 1mA～10A（50Hz/60Hz） | Urel=0.2％ |  | on side service |
| 26 | AC digital voltmeter | AC Voltge | JJG(Aerospace)34-1999 V.R. of AC digital voltmeter | 100mV～1000V（50Hz/60Hz） | Urel=0.2％ |  | on side service |
| 27 | DC Digital Ohmmeter | DC. Resis tamce | JJG 724-1991 V.R.of DC Digital Ohmmeter | 10Ω～100MΩ | Urel=0.1％ |  | on side service |
| 28 | Withstanding Voltage Testers | DC Voltge | JJG 795-2004 V.R.of Withstanding VoltageTesters | (0.5～15)kV | Urel=0.6％ |  | on side service |
|  |  | AC Voltge |  | (0.5～15)kV（50Hz/60Hz） | Urel=0.6％ |  |  |
|  |  | DC Current |  | (0.5～100)mA | Urel=0.7％ |  | on side service |
|  |  | AC Current |  | (0.5～100)mA（50Hz/60Hz） | Urel=0.7％ |  |  |
|  |  | Time |  | (0～999)s | Urel=0.6％ |  |  |
| 29 | Clamp Ammeters | DC Current | JJF 1075-2001C.S.of Clamp Ammeters | （10～1000）A | Urel=0.8％ |  | on side service |
|  |  | AC Current |  | （10～1000）A | Urel=0.8％ |  |  |
| 30 | Voltmeter of DC/AC | DC Voltge | JJG124-2005 V.R. of Ampermter Voltmeter Wattmeter and Ohmmeter | 1mV～600V | Urel=0.05％ |  | on side service |
|  |  | AC Voltge |  | 1mV～600V | Urel=0.1％ |  |  |
| 31 | Ampermter of DC/AC | DC Current | JJG 124-2005 V.R. of Ampermter Voltmeter Wattmeter and Ohmmeter | 100μA～50A | Urel=0.07％ |  | on side service |
|  |  | AC Current |  | 1mA～50A（50Hz/60Hz） | Urel=0.13％ |  |  |
| 32 | Insulation Resistance Meter | Resistance | JJG 1005-2005 V.R of Electronic formula insulation ohmmeter examination regulations | (0.01~10)MΩ | Urel=0.3％ |  | on side service |
|  |  |  |  | (10~100)MΩ | Urel=0.6％ |  |  |
|  |  |  |  | (100~1000)MΩ | Urel=1.5％ |  |  |
|  |  |  |  | (1~10)GΩ | Urel=2.3％ |  |  |
|  |  |  |  | (10~100)GΩ | Urel=5.8％ |  |  |
|  |  | Voltmeter of DC |  | (50～1000)V | Urel=0.3％ |  |  |
| 33 | Leakage Current Meter | Voltage of AC | JJG 843-2007 V.R.of Leakage Current Meter | （0.1～20）mA（50Hz/60Hz） | Urel=0.8％ |  | on side service |
|  |  | Current of AC |  | （0～300）V（50Hz/60Hz） | Urel=0.1％ |  |  |
| 34 | DC regulated power supply | DC Voltage | JJG(Space flight)6-1999 V.R of DC stabilized power supply | （1~100）V | Urel=0.1% |  | on side service |
|  |  | DC Current |  | 10mA~10A | Urel=0.15% |  |  |
|  |  | AC Ripple voltage |  | （1~100）mV/（50~60）Hz | Urel=0.3% |  |  |
| 35 | AC Power meter | AC Voltage | JJG 780-1992 V.R of AC digital power meter verification regulation of | （1~3.29999）V/（50~60）Hz | Urel=0.04% |  |  |
|  |  |  |  | （33~329.999）V/ （50~60）Hz | Urel=0.05% |  |  |
|  |  | AC Current |  | (0.1~0.32999)A/（50~60）Hz | Urel=0.08% |  |  |
|  |  |  |  | (0.33~1.09999)A/（50~60）Hz | Urel=0.10% |  |  |
|  |  |  |  | (1.1~2.99999)A/（50~60）Hz | Urel=0.09% |  |  |
|  |  |  |  | (3~10.9999)A/（50~60）Hz | Urel=0.17% |  |  |
|  |  |  |  | (11~20)A/（50~60）Hz | Urel=0.22% |  |  |
|  |  | AC Power |  | Voltage(1~300)V Current（0.1~0.32999）A/（50~60）Hz cosφ=1 | Urel=0.10% |  |  |
| 35 | AC Power meter | AC Power | JJG 780-1992 V.R of AC digital power meter verification regulation of | Voltage(1~300)V Current（0.33~0.8999）A/（50~60）Hz cosφ=1 | Urel=0.15% |  |  |
| 35 | AC Power meter | AC Power | JJG 780-1992 V.R of AC digital power meter verification regulation of | Voltage(1~300) Current（0.9~2.9999）A/（50~60）Hz cosφ=1 | Urel=0.13% |  |  |
|  |  |  |  | Voltage(1~300)V Current（3~10.9999）A/（50~60）Hz cosφ=1 | Urel=0.15% |  |  |
|  |  |  |  | Voltage(1~300)V Current（11~20）A/（50~60）Hz cosφ=1 | Urel=0.20% |  |  |
| 36 | DC standard voltage source | DC Voltage | JJG 445-1986Verification Regulation of DC Standard Voltage Source | （0.01~1000）V | Urel=0.01% |  | on side service |
| 37 | AC standard voltage source | AC Voltage | JJG 410-1994 V.R of Precise AC Voltage Calibration Source | （1~100）mV/（10Hz~20kHz） | Urel=0.12% |  | on side service |
|  |  |  |  | （1~100）mV/（20~50）kHz | Urel=0.20% |  |  |
|  |  |  |  | （0.1~1）V/（10Hz~20kHz） | Urel=0.10% |  |  |
|  |  |  |  | （0.1~1）V/（20~50）kHz | Urel=0.18% |  |  |
|  |  |  |  | （1~10）V/（10Hz~20kHz） | Urel=0.10% |  |  |
|  |  |  |  | （1~10）V/（20~50）kHz | Urel=0.18% |  |  |
| 37 | AC standard voltage source | AC Voltage | JJG 410-1994 V.R of Precise AC Voltage Calibration Source | （10~100）V/（10Hz~20kHz） | Urel=0.10% |  | on side service |
|  |  |  |  | （10~100）V/（20~50）kHz | Urel=0.18% |  |  |
|  |  |  |  | （100~1000)V/（10Hz~20kHz） | Urel=0.10% |  |  |
|  |  |  |  | （100~1000）V/（20~50）kHz | Urel=0.20% |  |  |
| 38 | DC standard current source | DC Current | JJG (Aerospace)38-1987 V.R of Direct Current Standard Source | 10μA~100mA | Urel=0.10% |  | on side service |
|  |  |  |  | （0.1~1）A | Urel=0.15% |  |  |
|  |  |  |  | （1~10）A | Urel=0.25% |  |  |
| 39 | AC current source | AC Current | JJG(Aerospace)51-1999 V.R ofAC standard current source | (0.1~1)mA/（10Hz~1kHz） | Urel=0.15% |  | on side service |
|  |  |  |  | (1~10)mA/（10Hz~1kHz） | Urel=0.20% |  |  |
|  |  |  |  | (10~100)mA/（10Hz~1kHz） | Urel=0.15% |  |  |
|  |  |  |  | (100~400)mA/（10Hz~1kHz） | Urel=0.20% |  |  |
|  |  |  |  | (0.4~1)A/（10Hz~1kHz） | Urel=0.15% |  |  |
|  |  |  |  | (1~3)A/（10Hz~1kHz） | Urel=0.25% |  |  |
|  |  |  |  | (3~10)A/（10Hz~1kHz） | Urel=0.36% |  |  |
| 40 | DC resistance box | DC Resistance | JJG 982-2003 V.R of D.C.Resistance Box | （0.1~10）Ω | Urel=0.05% |  | on side service |
| 40 | DC resistance box | DC Resistance | JJG 982-2003 V.R of D.C.Resistance Box | （10~100）Ω | Urel=0.02% |  | on side service |
|  |  |  |  | （100~1000）Ω | Urel=0.01% |  |  |
|  |  |  |  | （1~10）kΩ | Urel=0.01% |  |  |
|  |  |  |  | （10~100）kΩ | Urel=0.01% |  |  |
|  |  |  |  | （0.1~10）MΩ | Urel=0.05% |  |  |
|  |  |  |  | （10~100）MΩ | Urel=0.10% |  |  |
|  |  |  |  | （0.1~1）GΩ | Urel=2.4% |  |  |
| 41 | Grounding resistance meter | Resistance | JJG 366-2004 V.R of Earth Resistance Meters | （0.1~1）Ω | Urel=0.50% |  | on side service |
|  |  |  |  | （1~1000）Ω | Urel=0.30% |  |  |
| 42 | Low DC resistance tester | DC Resistance | JJG 837-2003 V.R of D.C. low Resistance Meters | 10mΩ~1Ω | Urel=1.0% |  | on side service |
|  |  |  |  | （1~10）Ω | Urel=0.5% |  |  |
|  |  |  |  | （10~100）Ω | Urel=0.1% |  |  |
|  |  |  |  | （100~1000）Ω | Urel=0.1% |  |  |
|  |  |  |  | （1~10）kΩ | Urel=0.1% |  |  |
| 43 | Anti-static wrist tester | Threshold resistance | JJF(Electronics)31502-2010 C.S.for Electrostatic bracelet, foot wheel tester | 500kΩ~10MΩ | Urel=0.3% |  | on side service |
|  |  |  |  | （10 ~100 ）MΩ | Urel=0.6% |  |  |
| 44 | LF Eleceronic Volt Meter | Voltage | JJG 782-1992 V.R of LF Eleceronic Volt Meter | 1mV~300V/（55Hz、400Hz、1000Hz） | Urel=0.5% |  |  |
|  |  | Voltage and frequency response |  | 5Hz~20Hz/1V | Urel=1.0% |  |  |
|  |  |  |  | 50Hz~10k/1V | Urel=0.5% |  |  |
|  |  |  |  | 20k Hz~100k Hz/1V | Urel=1.0% |  |  |
| 45 | Verification Regulation of Earth-Continuity Testers | Resistance | JJG 984-2004 V.R of Earth-Continuity Testers | （20~600）mΩ | Urel=0.6% |  | on side service |
|  |  | AC current |  | (0~40)A/（50~60）Hz | Urel=1.1% |  |  |
| 46 | The residual current operated protective device testing instrument | AC Voltage | JJG(Mechanics)76-1992 V.R of IDBLeakage protection tester calibration procedures | （10~1000）V/50/60Hz | Urel=0.2% |  | on side service |
|  |  | AC Current |  | (0.1~1)mA | Urel=0.12% |  |  |
|  |  |  |  | (1~10)mA | Urel=0.15% |  |  |
|  |  |  |  | (10~100)mA | Urel=0.12% |  |  |
|  |  |  |  | (0.1~1)A | Urel=0.15% |  |  |
|  |  |  |  | (1~10)A | Urel=0.2% |  |  |
|  |  | actuation time |  | （0~40）ms | Urel=0.2% |  |  |
|  |  |  |  | ＞40ms |  |  |  |
| 47 | Digital multimeter | DC Voltage | JJG 315-1983 V.R of DC Digital Voltmeter | （1~329.999）mV | Urel=0.005% |  |  |
|  |  |  |  | 330mV~3.29999V | Urel=0.004% |  |  |
|  |  |  |  | （3.3~32.9999）V | Urel=0.004% |  |  |
|  |  |  |  | （33~329.999）V | Urel=0.004% |  |  |
|  |  |  |  | （330~1020）V | Urel=0.005% |  |  |
|  |  | AC Voltage | JJG(Aerospace)34-1999 V.R. of AC digital voltmeter | （1~32.999）mV/(10~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （1~32.999）mV/45Hz~10kHz | Urel=0.03% |  |  |
|  |  |  |  | （1~32.999）mV/(10~20)kHz | Urel=0.05% |  |  |
|  |  |  |  | （1~32.999）mV/(20~50)kHz | Urel=0.10% |  |  |
| 47 | Digital multimeter | AC Voltage | JJG(Aerospace)34-1999 V.R. of AC digital voltmeter | （1~32.999）mV/(50~100)kHz | Urel=0.30% |  |  |
|  |  |  |  | （33~329.999）mV/(10~45)Hz | Urel=0.06% |  |  |
|  |  |  |  | （33~329.999）mV/45Hz~10kHz | Urel=0.02% |  |  |
|  |  |  |  | （33~329.999）mV/(10~20)kHz | Urel=0.02% |  |  |
|  |  |  |  | （33~329.999）mV/(20~50)kHz | Urel=0.40% |  |  |
|  |  |  |  | （33~329.999）mV/(50~100)kHz | Urel=1.0% |  |  |
|  |  |  |  | （0.33~3.29999）V/(10~45)Hz | Urel=0.40% |  |  |
|  |  |  |  | （0.33~3.29999）V/45Hz~10kHz | Urel=0.03% |  |  |
|  |  |  |  | （0.33~3.29999）V/(10~20)kHz | Urel=0.05% |  |  |
|  |  |  |  | （0.33~3.29999）V/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （0.33~3.29999）V/(50~100)kHz | Urel=0.80% |  |  |
|  |  |  |  | （3.3~32.9999）V/(10~45)Hz | Urel=0.10% |  |  |
| 47 | Digital multimeter | AC Voltage | JJG(Aerospace)34-1999 V.R. of AC digital voltmeter | （3.3~32.9999）V/45Hz~10kHz | Urel=0.04% |  |  |
|  |  |  |  | （3.3~32.9999）V/(10~20)kHz | Urel=0.08% |  |  |
|  |  |  |  | （3.3~32.9999）V/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.9999）V/(50~100)kHz | Urel=0.15% |  |  |
|  |  |  |  | （33~329.999）V/(10~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/45Hz~10kHz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/(10~20)kHz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/(20~50)kHz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.999）V/(50~100)kHz | Urel=0.20% |  |  |
|  |  |  |  | （330~1000）V/45Hz~1kHz | Urel=0.30% |  |  |
| 47 | Digital multimeter | DC Current | JJG 598-1989 V.R of DC Digital Amperemetor | （100~329.999）μA | Urel=0.02% |  |  |
|  |  |  |  | 330μA~3.29999mA | Urel=0.01% |  |  |
|  |  |  |  | （3.3~32.9999）mA | Urel=0.01% |  |  |
|  |  |  |  | （33~329.999）mA | Urel=0.01% |  |  |
| 47 | Digital multimeter | DC Current | JJG 598-1989 V.R of DC Digital Amperemetor | 330mA~1.09999A | Urel=0.01% |  |  |
|  |  |  |  | （1.1~2.99999）A | Urel=0.03% |  |  |
|  |  |  |  | （3~10.99999）A | Urel=0.08% |  |  |
|  |  |  |  | （11~20）A | Urel=0.10% |  |  |
|  |  | AC Current | JJG(Aerospace)35-1999 V.R. of AC digital current meter | （29~329.99） μA/(20~45)Hz | Urel=0.20% |  |  |
|  |  |  |  | （29~329.99） μA/45Hz~1kHz | Urel=0.13% |  |  |
|  |  |  |  | （0.33~3.2999）mA/(20~45)Hz | Urel=0.13% |  |  |
|  |  |  |  | （0.33~3.2999）mA/45Hz~1kHz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.999）mA/(20~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （3.3~32.999）mA/45Hz~1kHz | Urel=0.05% |  |  |
|  |  |  |  | （33~329.99）mA/(20~45)Hz | Urel=0.10% |  |  |
|  |  |  |  | （33~329.99）mA/45Hz~1kHz | Urel=0.05% |  |  |
|  |  |  |  | （0.33~2.99999）A/(10~45)Hz | Urel=0.20% |  |  |
| 47 | Digital multimeter | AC Current | JJG(Aerospace)35-1999 V.R. of AC digital current meter | （0.33~2.99999）A/45Hz~1kHz | Urel=0.08% |  |  |
|  |  |  |  | （3~10.9999）A/(45~100)Hz | Urel=0.06% |  |  |
|  |  |  |  | （3~10.9999）A/100Hz~1kHz | Urel=0.10% |  |  |
|  |  |  |  | （11~20）A/(45~100)Hz | Urel=0.15% |  |  |
|  |  |  |  | （11~20）A/100Hz~1kHz | Urel=0.18% |  |  |
| 47 | Digital multimeter | Resistance | JJG 724-1991 V.R of DC Digital Ohmmeter | （0~3.299999）MΩ | Urel=0.01% |  |  |
|  |  |  |  | （3.3~10.99999）MΩ | Urel=0.02% |  |  |
|  |  |  |  | （11~32.99999）MΩ | Urel=0.03% |  |  |
|  |  |  |  | （33~109.9999）MΩ | Urel=0.05% |  |  |
|  |  |  |  | （110~329.9999）MΩ | Urel=0.30% |  |  |
|  |  |  |  | （330~1100）MΩ | Urel=1.5 % |  |  |
| 48 | The Equipment of the Environmental Testing for Temperature and Humidity | Temperature | JJF1101-2003 C.S for the Equipment of the Environmental Testing for Temperature and Humidity | （-40～300）℃ | U=0.5℃ |  | on side service |
| 49 | The transformer proportion bridge | transformation ratio | JJG 970-2002 V.R.of the transformer proportion bridge | 1～100000 | Urel =0.01% |  | on side service |
| 50 | LCR digital bridge | Capacitances | GJB/J5412-2005 V.R. of the wide range digital RLC meter（military） | 40PF~1mF | Urel=0.16%～0.34% |  | on side service |
|  |  | Inductances |  | 100μH~1H | Urel=0.05% |  |  |
|  |  | Resistances |  | 0.1Ω~100kΩ | Urel=2.4%～0.12% |  |  |
| 51 | Ac/Dc high voltage divider | voltage | JJG 1007-2005 V.R. of DC high voltage divider | (0.5～200)kV | Urel =0.6% |  |  |
|  |  |  | JJG 496-1996 V.R. of power-frequency high voltage divider | (0.5～200)kV | Urel =1.2% |  |  |
| 52 | Current Transformers of Measuring Service | Current error(ratio error) | JJG313-2010 V.R of Instrument Current Transformers | (0.1～10000)A/5A 0.0001％-20％ | U=0.012% |  | on side service |
|  |  | phase displacement |  | 0.001′-600′ | U=0.35′ |  |  |
| 53 | Voltage Transformers of Measuring Service | Voltage error(ratio error) | JJG314-2010 V.R of Instrument Voltage Transformers | (57.7～10000)V/100V 0.0001％-20％ | U=0.012% |  | on side service |
|  |  | phase displacement |  | 0.001′-600′ | U=0.35′ |  |  |
| 54 | Dc resistor Bridge | resistance | JJG125-2004 V.R.of DC.Bridage | single-arm bridge：10mΩ～10MΩ double-arm bridge：0.01mΩ～11Ω | single-arm bridge: Urel=5.8％～0.06％ double-arm bridge: Urel=1.2%～0.02% |  |  |
| 55 | Measurement Coil | Coil Constant | SJ20241-1993 V.R. of YG series circle-counting instrument(Electronic industry for military industry) | （0~20000）circles | （1.2~12）circles |  | on side service |
| 56 | ultrasonic Inspection Instrument | horizontal liner error | JJG 746-2004 V.R.of Ultrasonic Inspection Instruments | 0~10% | U=0.5% |  | on side service |
|  |  | attenuation error |  | (0.1~101)dB | U=0.2dB/12dB |  |  |
|  |  | Vertical liner error |  | 0~10% | U=1.7% |  |  |
| 57 | Eddy Current Flaw Detector | frequency | JJG 0061-2001 V.R. of Eddy Current Flaw Detector | (1×10～ 1×106)Hz | U=0.12kHz |  | on side service |
| 58 | Magnetic particle Flaw Detectors | Current | JJF 1273-2011 C.S of the Magnetic particle Flaw Detectors | (0.1～2)kA | U=5.2A |  | on side service |
| 58 | Magnetic particle Flaw Detectors | Current | JJF 1273-2011 C.S of the Magnetic particle Flaw Detectors | (>2～10)kA | U=26A |  | on side service |