|  | 东莞市世通仪器检测服务有限公司 DONG GUAN CITY SHITONG MEASURERED INSTRUMENTS SERVICE LTD |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 说 明 DIRECTIONS |  |  |  |  |  |  |  |  |  |  |  |
| 证 书 编 号：ZS172409D028 Certificate No. |  |  |  |  |  | 第2页，共4页 Page of |  |  |  |  |  |
| 1.本实验室所出具的数据均可溯源到国家计量基准和国际单位制（SI）。 All data issued by this laboratory are traceable to national primary standards of measurement and the international system of units (SI). 2.本实验室体系按CNAS-CL01《检测和校准实验室能力认可准则》执行，质量管理及技术均符合ISO/IEC 17025:2005的要求。 The laboratory system by CNAS-CL01《Accreditation Criterria for the Competence of Testing And Calibration Laboratories》implementation, Quality management and technology all conform to the ISO/IEC 17025:2005. 3.本证书的校准结果仅对当时受校准样品有效，受校准后之仪器准确度，则视往后使用之小心程度及使用之频率而定。 This certificate of calibration results of the calibration samples is valid at the time, only after the calibration of the instrument accuracy, looks back the usage and extent on the frequency of use. |  |  |  |  |  |  |  |  |  |  |  |
| 4.本次校准的技术依据： Reference documents for the calibration： JJF 1587-2016数字多用表校准规范 |  |  |  |  |  |  |  |  |  |  |  |
| 5.本次校准所使用的主要计量标准器具： Major standards of measurement used in the calibration： |  |  |  |  |  |  |  |  |  |  |  |
| 名称∕型号 Description∕Model |  | 编 号 Serial No. |  | 证书号∕有效期 Certificate No.∕Due Date |  |  | 技术特征 Technique Character |  |  |  |  |
| 多功能校准仪/5500A |  | ST-BZ-096 |  | WWM201600402/2017.05.19 |  |  | 5x10-5 |  |  |  |  |
| 6.测量结果的不确定度： Expanded uncertainty of the measurement results： DCV:Urel=0.12%；ACV:Urel=0.16%；DCA:Urel=0.16%；ACA:Urel=0.22%；OHM: Urel=0.12% 以上不确定度的包含因子k=2,(依据JJF1059.1-2012测量不确定度评定与表示) |  |  |  |  |  |  |  |  |  |  |  |
| 7.校准地点、环境条件： Place and environmental conditions of the calibration: |  |  |  |  |  |  |  |  |  |  |  |
| 地点：委托方现场 Place |  |  | 温度：22℃ Temperature |  | 相对湿度：50％RH Relative Humidity |  |  | 其他：∕ Others |  |  |  |
| 注(Note)：1.本证书校准结果只与受校准的项目有关。 The results of certificate relate only to the items calibrated. 2.未经本实验室书面批准，不得部分使用此证书。 The certificate shall noe be used in part by the written approval of this laboratory. |  |  |  |  |  |  |  |  |  |  |  |

|  | 东莞市世通仪器检测服务有限公司 DONG GUAN CITY SHITONG MEASURERED INSTRUMENTS SERVICE LTD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 校 准 结 果 RESULTS OF CALIBRATION |  |  |  |  |  |  |  |
| 证 书 编 号：ZS172409D028 Certificate No. |  |  | 原始记录号：ST172409D028 Record No. | 第3页，共4页 Page of |  |  |  |
| 1.外观及工作性能检查:符合要求. 2.直流电压（DCV）基本误差校准: 3.交流电压（ACV）基本误差校准: 4.直流电流（DCA）基本误差校准: |  |  |  |  |  |  |  |
|  | 东莞市世通仪器检测服务有限公司 DONG GUAN CITY SHITONG MEASURERED INSTRUMENTS SERVICE LTD |  |  |  |  |  |  |
| 校 准 结 果 RESULTS OF CALIBRATION |  |  |  |  |  |  |  |
| 证 书 编 号：ZS172409D028 Certificate No. |  | 原始记录号：ST172409D028 Record No. |  | 第4页，共4页 Page of |  |  |  |
| 5.交流电流（ACA）基本误差校准: 6.直流电阻（DCR）基本误差校准: 本 次 校 准 项 目 结 束 |  |  |  |  |  |  |  |
| 说明(Note)：1.本证书未加盖校准证书专用章无效。 It invalid that the certificate cannot be stamped. 2.下次送校时,请带上本证书复印件。 Please provide the copy of certificate next calibration. |  |  |  |  |  |  |  |